Measurement Name

DB_API_Hits

Description

This measurement tracks the volume of requests (hits) made to the Database API layer. Based on the timestamp intervals in your sample (approx. every 5 minutes), this likely represents a count of requests detected during that specific reporting interval. It is useful for monitoring traffic spikes, identifying periods of low usage (zero hits), or capacity planning.

1. Schema Breakdown

Tags (Dimensions)

Use these columns to filter traffic by location or server.

Tag Key

Description

Example Value

host

The hostname of the operations server or API gateway.

DLVMTMAMXOPS01

zone

The geographical zone of the server.

Dallas_North

project

The project identifier.

AMX

Export to Sheets

Fields (Metrics)

Use this column to calculate traffic volume.

Field Key

Type

Description

API_Hits

Integer

The number of API hits recorded. Values like 0 or 2 suggest this might be a low-traffic endpoint or a snapshot counter.

Export to Sheets

2. Sample Queries

A. Calculate Total API Hits (Daily Volume)

Sum the hits to see how many requests occurred over the last 24 hours.

SQL

SELECT SUM("API_Hits")

FROM "DB_API_Hits"

WHERE time > now() - 24h

GROUP BY time(1h), "zone"

B. Identify Peak Traffic Times

Find the moment with the highest number of hits.

SQL

SELECT MAX("API_Hits")

FROM "DB_API_Hits"

WHERE time > now() - 7d

GROUP BY time(1h)

C. Monitor for Zero Traffic (Potential Outage)

Check if hits have dropped to zero, which might indicate an upstream connection failure.

SQL

SELECT "host", "API_Hits"

FROM "DB_API_Hits"

WHERE "API_Hits" = 0

AND time > now() - 6h